University of Texas High-Resolution X-ray CT Facility Archive 1744

Rossie:

micrA: Scans of the skull of Microcebus rufus (USNM 328789; female; Madagascar, Fianarantsoa, Nosy Varika, 6 km N; coll. K.L. Lange 27 Oct 1962) for James Rossie of Stony Brook University, Department of Anthropology.  Specimen scanned by Matthew Colbert 20 August 2007.

16bit: 512x512 16-bit TIFF images.  II, 180 kV, 0.14 mA, intensity control on, no filter, air wedge, no offset, slice thickness 2 lines (= 0.05353 mm), S.O.D. 77 mm, 800 views, 2 samples per view, inter-slice spacing 2 lines (= 0.05353 mm), field of reconstruction 25 mm (maximum field of view 25.50612 mm), reconstruction offset 4900, reconstruction scale 4700. Acquired with 19 slices per rotation and 15 slices per set. Ring-removal processing done by Jessie Maisano based on correction of raw sonogram data using IDL routine “RK_SinoRingProcSimul” with default parameters. Deleted last four duplicate slices of each rotation, added back slice 0852, and deleted blank slices 1-6.  Total final slices = 670.

8bitjpg: 8bit JPG version of the above images.

specimenphotos: 8bit JPG images of the specimen.